ELECTRICAL SCIENCE  LAB

LIST OF EXPERIMENTS

- To Design the circuit for a given load and selection of its various Components and instruments from the safety point of view

- Study and applications of CRO for measurement of voltage, frequency and phase of signals.

- Connection  of  lamp by (1)Single Switch Method.(2) Two-way Switch Method. OR Performance comparison of of fluorescent Tube & CFL Lamp.

- To Verify Thevenin’s & Norton’s Theorem OR To Verify Superposition &Reciprocity Theorem. OR To Verify Maximum Power Transfer Theorem.

- To Measure Power & Power Factor in a Single-Phase A.C Circuit using Three Ammeters or three Voltmeters.

- To Measure Power & Power Factor in a Balanced Three Phase Circuit using Two Single Phase Wattcmeters.

- To study of Resonance in a series R-L-C or Parallel R-L-C Circuits.

- To perform open circuit and short circuit test on 1-phase transformer.

- Starting, Reversing and speed control of DC shunt Motor

- Starting, Reversing and speed control of 3-phase Induction Motor

- To Study different types of Storage Batteries & its charging system.

- .To Study different types of earthing methods including earth leakage